## Sheet1
Iteration Name | APAR | DT | Application Name | Description | Manual Changes
Technician Calibration - Patch 9.0.5 | MASISMIG-58162 | DT394460 | Technician with Calibration | Datasheet Asset Function is missing the "No Adj Made?" check box.
| MASISMIG-58473 | DT397801 |  | Inconsistent tolerance failure message.
| MASISMIG-57851 | DT395834 |  | There's no way to disable the "Clean my data from the device" option - Log out page.
| MASISMIG-57753 | DT395055 |  | Resolution settings from data sheet configuration being ignored on Mobile
| MASISMIG-57761 | DT395499 |  | Mobile Calibration - Asset function Calibration point numbers are missing, but instead there's ID numbers
Technician Calibration - Patch 9.0.3 | MASISMIG-57758 | DT395499 | Technician with Calibration | Mobile Calibration- Asset function Calibration point numbers are missing, but instead there is unique identifiers
| MASISMIG-57754 | DT395498 |  | Maximo Mobile- Asset Function Details Missing read only fields
| MASISMIG-57328 | DT394199 |  | Unable to complete calibration work when Maximo Mobile is offline.
| MASISMIG-57774 | DT395182 |  | Calibration Datasheet Details is missing Revision and Repeatable fields
| MASISMIG-57749 | DT395502 |  | Cannot complete WO in mobile without as left dynamic checks data
| MASISMIG-58159 | DT394460 |  | In Mobile- Datasheet - Asset Function is missing the No Adj Made? check box
| MASISMIG-57770 | DT395054 |  | Unable to change the Asset Function statuses manually from the Asset function page
| MASISMIG-57988 | DT396060 |  | Maximo Mobile Calibration - Asset Function label incorrectly labeled
| MASISMIG-57762 | DT395500 |  | Mobile Calibration - The Environmental Conditional fields are multiplied but not separated per Datasheet
| MASISMIG-57766 | DT395501 |  | Mobile Calibration - Inconsistent tolerance messages appearing on Mobile Calibration
| MASISMIG-58473 | DT397801 |  | In Mobile/RBA Technician - Inconsistent tolerance failure message.